## Slide 1: ECEN 403 Final Presentation Team 63 – AWG Leandro Bracho, Oscar Medrano, Nick Joseph, and Robin Smithson Sponsor: Professor John Lusher

## Slide 2: Project Description
Problem Statement:
  Test validation is a vital step in the design and fabrication of circuit boards for any project in the realm of electrical engineering.
  Typical AWGs can be large and unintuitive
Solution Proposal:
  Create a mobile user interface for the AWG
  Design an AWG with decent quality
  Allow hand drawn waveforms
Notes: Nick

## Slide 3: Subsystem Overview
Leandro Bracho | Robin Smithson | Nick Joseph | Oscar Medrano
Android Application | Microcontroller | FPGA | DAC
Notes: Robin (or Leandro or Oscar)

## Slide 4: Android Application Flowchart

## Slide 5: Android Application
Video Link: https://youtu.be/ER6whhiBOCw?si=KfntIzJiZYk1K7D2
Notes: Video Link: https://youtu.be/ER6whhiBOCw?si=KfntIzJiZYk1K7D2

## Slide 6: Microcontroller

## Slide 7: Microcontroller

## Slide 8: FPGA

## Slide 9: FPGA

## Slide 10: FPGA

## Slide 11: Bipolar Output Circuitry Design

## Slide 12: Bipolar Output Circuitry Testing and Validation
Planning on testing with an Analog Discover 2
Input data and get a desired wave. (Sine, Triangular, Square, and Sawtooth)
Testing for total voltage range, looking for ±10V.

## Slide 13: Android Application Execution Plan
 | Sep-25 | Oct-2 | Oct-9 | Oct-16 | Oct-23 | Oct-30 | Nov-6 | Nov-13 | Nov-20 | Nov-27 | Dec-4
Design App UI |  |  |  |  |  |  |  |  |  | Not Started | 
Create Text Fields |  |  |  |  |  |  |  |  |  | In Progress | 
Add User Input |  |  |  |  |  |  |  |  |  | Completed | 
Implement Buttons |  |  |  |  |  |  |  |  |  | Behind Schedule | 
Integrate Waveform Window |  |  |  |  |  |  |  |  |  |  | 
Write Wave Functions |  |  |  |  |  |  |  |  |  |  | 
Add Data Export |  |  |  |  |  |  |  |  |  |  | 
Create Freehand Function |  |  |  |  |  |  |  |  |  |  | 
Stress Test Application |  |  |  |  |  |  |  |  |  |  | 

## Slide 14: Android App Validation Plan
Paragraph # | Test Name | Success Criteria | Methodology | Status
3.2.1.1 | User Interface | The UI appears correctly in portrait and landscape orientation. | On app homepage check for visual errors in portrait orientation, then flip to landscape and check again. | SUCCESS
3.2.1.1 | Buttons | Each button is clickable with a working dropdown menu | Each button subsequent dropdown item will be pressed, and their options should perform its task | SUCCESS
3.2.1.2 | Wave Functions | Each wave can be selected and outputs their respective graphs correctly | Each function will be selected and given preset data and user input data to test if the wave outputs correctly | SUCCESS
3.2.1.2 | User Input | Users can input data and only the acceptable values are passed on | A range of numbers and special characters will be passed into the inputs | SUCCESS
3.2.1.2 | Freeform Mode | A user can draw a wave and the wave's properties appear in the data fields | The mode will be selected, and a wave will be drawn to test if the input field's values are updated | UNTESTED
3.2.1.2 | Export | File is exported, saved locally on device, and contain correct data points. | Data will be exported, the downloads folder will be checked, and the file will contain its expected values | FAILED
3.2.3.2.1 | Bluetooth | The app can successfully pair with the MCU | The device will connect to the MCU and the MCU should appear in the phone's "Connected Devices" | UNTESTED

## Slide 15: MCU Execution
 | Sep-25 | Oct-2 | Oct-9 | Oct-16 | Oct-23 | Oct-30 | Nov-6 | Nov-13 | Nov-20 | Nov-27 | Dec-4
Create and Finalize MCU Schematic |  |  |  |  |  |  |  |  |  |  | 
Order Microcontroller Parts |  |  |  |  |  |  |  |  |  |  | 
Order PCB & Solder Components |  |  |  |  |  |  |  |  |  |  | 
Establish Bluetooth Connection |  |  |  |  |  |  |  |  |  |  | 
Import Sample Data |  |  |  |  |  |  |  |  |  |  | 
Program Clock Rate |  |  |  |  |  |  |  |  |  |  | 
Export Sample Data |  |  |  |  |  |  |  |  |  |  | 

## Slide 16: MCU Validation Plan
6.1.1 | Bluetooth | Successfully turns on Bluetooth | Connection will be verified with another Bluetooth device | UNTESTED
3.2.1.2 | Inputs | Successfully imports sample data points | Verified within code and output statements | UNTESTED
3.2.3.2.1 | Data Output | Successfully exports all data points | Verified within code and with another Bluetooth device | UNTESTED
3.2.1.2 | Clock Rate | Can set a clock rate from 1 Hz - 20 kHz | Verified with code output | UNTESTED

## Slide 17: FPGA Execution Plan

## Slide 18: FPGA Validation Plan

## Slide 19: Bipolar Circuitry Execution Plan
DAC | Sep-25 | Oct-2 | Oct-9 | Oct-16 | Oct-23 | Oct-30 | Nov-6 | Nov-13 | Nov-20 | Nov-27 | Dec-4
Schematic Design |  |  |  |  |  |  |  |  |  |  | 
Order DAC Integrated Circuit |  |  |  |  |  |  |  |  |  |  | 
Order Output Circuitry Parts |  |  |  |  |  |  |  |  |  |  | 
First PCB Design with 1CH |  |  |  |  |  |  |  |  |  |  | 
Solder and Test Board |  |  |  |  |  |  |  |  |  |  | 
Update as Necessary |  |  |  |  |  |  |  |  |  |  | 

## Slide 20: Bipolar Circuitry Validation Plan
Paragraph # | Test Name | Success Criteria | Methodology | Status
3.2.3.2.1 | DAC Output | DAC outputs the expected unbuffered current. | The DAC will receive a digital signal and output the unbuffered current. | UNTESTED
3.2.3.2.2 | I/V Converter | I/V converter changes the current from the DAC to a voltage | I/V converter will receive the current from the DAC and output a voltage. | UNTESTED
3.2.3.2.2 | DAC + I/V | Integrated DAC and I/V to output the expected waveform | The I/V converter will output the waveform from the DAC output current. | UNTESTED
3.2.3.3 | Voltage Regulator | A 10V voltage reference is outputted | The correct voltage reference of 10V is provided to the DAC | UNTESTED

## Slide 21: Android Application – Remaining Tasks
Freeform Mode
Export
Bluetooth

## Slide 22: Microcontroller – Remaining Tasks
Solder PCB
Program Dev kit and implement on actual microcontroller
  Establish Bluetooth connection
  Ability to import data points
  Export data points to FPGA
  Set clock rate

## Slide 23: FPGA – Remaining Tasks
Solder PCB
Program the FPGA
  Read the input from the Microcontroller
  Store the data points
  Output the data into the DAC

## Slide 24: Bipolar Output Circuit – Remaining Tasks
Receive final parts and board
Solder the PCB
Figure out how to use the AD2 and test the board

## Slide 25: Looking Ahead to 404
Fully integrate all subsystems together
Order final PCBs
Establish a power system
Validate and test whole system
Enclosure design and fabrication for PCBs