## Slide 1: ECEN 404 Final Presentation Team 63 AWG Leandro Bracho, Nick Joseph, Oscar Medrano, Robin Smithson Zhewen Hu Dr. John Lusher

## Slide 2: Problem Overview
Leandro Bracho | Robin Smithson | Nick Joseph | Oscar Medrano
Android App | MCU | FPGA | DAC
Project Deliverables
Mobile interface for AWG
Wireless connection
Voltage range: +/- 10 V
Frequency range: 1 Hz – 20 kHz
Up to 65,535 data points
Hand-drawn waveforms
Dual channel
Notes: Summary of your problem being solved and high level summary of your solution.
About 30 seconds
Robin

## Slide 3: Integrated Project Diagram
Full System Integration
MCU
DAC
Power System (back)
FPGA
App Interface
BNC Cable Outputs
Notes: Picture (or collection of pictures) or drawing of system • Major components labeled • Show how user connects (ui screens, pictures, etc) • Label major connections/interfaces
30 Seconds
Leandro

## Slide 4: Android App Leandro Bracho

## Slide 5: Android Application Accomplishments
First Screen
Scanning
Connection
Horizontal View
Notes: About 60-90 seconds / team member
Each team member should in 2 – 3 slides show what they designed, tested, and validated.
List challenges / solutions where appropriate.
Present data (table?) with requirement description (eg rover drill placement accuracy); what spec(s) for that requirement (eg mean error in positioning), measured range of results (min 1.2cm, mean 4 cm, max 11cm);
Accomplishments should be backed up with quantitative test results and requirements validation

## Slide 6: Android Application Accomplishments Cont.
Sine Wave
Triangle Wave
Square Wave
Sawtooth Wave
Freehand Wave
Notes: About 60-90 seconds / team member
Each team member should in 2 – 3 slides show what they designed, tested, and validated.
List challenges / solutions where appropriate.
Present data (table?) with requirement description (eg rover drill placement accuracy); what spec(s) for that requirement (eg mean error in positioning), measured range of results (min 1.2cm, mean 4 cm, max 11cm);
Accomplishments should be backed up with quantitative test results and requirements validation

## Slide 7: Challenges/Solutions
Challenge: Connecting to MCU
  Solution: Do not prematurely close connection
Challenge: Export speed
  Solution: Display progress bar
Challenge: App freezing during export
  Solution: Call functions asynchronously

## Slide 8: Microcontroller Robin Smithson

## Slide 9: MCU Accomplishments
Final PCB
Total Data Points Imported
Notes: Each team member should in 2 – 3 slides show what they designed, tested, and validated.
List challenges / solutions where appropriate.
Present data (table?) with requirement description (eg rover drill placement accuracy); what spec(s) for that requirement (eg mean error in positioning), measured range of results (min 1.2cm, mean 4 cm, max 11cm);
Accomplishments should be backed up with quantitative test results and requirements validation

## Slide 10: Challenges/Solutions
Challenge: Establishing Bluetooth connection and importing all data points
  Solution: Swap to Bluetooth Classic from BLE
Challenge: Limited connection range
  Solution: Antenna
Challenge: Method for exporting data to FPGA
  Solution: using SPI protocol, storing data in integer variable.

## Slide 11: Specifications/Test Results
Test Name | Methodology | Status
Bluetooth | Terminal & app confirms Bluetooth Pairing & Connection | PASSED
Inputs | Serial output on Arduino will show that all data was received and written | PASSED
Data Output | Waveforms on FPGA will show that data was written and transmitted | FAIL
Clock Rate | Output on Arduino will display the clock rate frequency – 1 MHz | PASSED

## Slide 12: FPGA Nick Joseph

## Slide 13
Accomplishments
Original design
New board

## Slide 14: FPGA major challenges and solutions
SPI communication not syncing up
Micro USB not connecting
Challenges connecting to the DAC
Challenges
Solutions
Rewriting the Verilog to correct timing errors
Connecting to a 5V power instead of 3.3V
Rewriting the code to more effectively connect to the system

## Slide 15
Test Name | Methodology | Status
Simulation | Testing the code between the different modules on the FPGA | PASSED
SPI connection | Connection between the FPGA and the Micro controller | FAIL
Full connection | Connecting between the microcontroller and the DAC through the FPGA | FAIL
DAC connection | The FPGA can correctly read inputs into the DAC | FAIL

## Slide 16: DAC & Power System Oscar Medrano

## Slide 17: DAC Accomplishments
DAC System PCB in the Enclosure
All ICs receive the correct power input.
Voltage Reference is +10V.
Each DAC can receive 16-bits of data.
Each DAC outputs withing a +/- 10V range.

## Slide 18: DAC System
DAC 1 |  | 
Decimal | Hexadecimal | Voltage [V]
65535 | FFFF | 9.996
60000 | EA60 | 8.308
55000 | D6D8 | 6.782
50000 | C350 | 5.256
45000 | AFC8 | 3.731
40000 | 9C40 | 2.205
35000 | 88B8 | 0.68
30000 | 7530 | -0.845
25000 | 61A8 | -2.371
20000 | 4E20 | -3.896
15000 | 3A98 | -5.422
10000 | 2710 | -6.947
5000 | 1388 | -8.473
2500 | 09C4 | -9.236
1250 | 04E2 | -9.617
625 | 0271 | -9.808
0 | 0000 | -9.998
DAC 2 |  | 
Decimal | Hexadecimal | Voltage [V]
65535 | FFFF | 9.997
60000 | EA60 | 8.308
55000 | D6D8 | 6.782
50000 | C350 | 5.257
45000 | AFC8 | 3.731
40000 | 9C40 | 2.206
35000 | 88B8 | 0.68
30000 | 7530 | -0.845
25000 | 61A8 | -2.371
20000 | 4E20 | -3.896
15000 | 3A98 | -5.422
10000 | 2710 | -6.947
5000 | 1388 | -8.473
2500 | 09C4 | -9.236
1250 | 04E2 | -9.617
625 | 0271 | -9.808
0 | 0000 | -9.999

## Slide 19: Power System Accomplishments
Power System PCB in the Enclosure
Adjusted the power jack to be more sturdy
  Solution: Solder directly to the board using a short wire
Input voltage powers up each converter and each converter outputs the desired voltage.
Challenge: Issues with the +/- 15V converter.
  Solution: Connecting the common pin to ground.

## Slide 20: Integrated System Results
Test Name | Methodology | Status
Sine | Oscilloscope displays sine wave output | FAILED
Square | Oscilloscope displays square wave output | UNTESTED
Triangle | Oscilloscope displays triangle wave output | UNTESTED
Sawtooth | Oscilloscope displays sawtooth wave output | UNTESTED
Freehand | Oscilloscope displays user drawn wave output | UNTESTED
Notes: This section shows end-to-end system operation
Show and provide details on a few important end-to-end use scenarios that you developed and validated. Giving results (be quantitative here – results for key performance indicators … time to complete task, overall accuracy of task, success/fail measures)
Oscar

## Slide 21: Conclusions
Difficulties with communications between subsystems
Status:
  System integrated
  Issues with MCU to FPGA connection and FPGA to DAC connection
  Debugging these three systems to be completed before final demo
Notes: List issues encountered that required changes from system described in Conops, FSR/ICD and resulting system design changes
Current status (eg. integration/test/validation complete; Integration complete, but BT comm not fully validated; Repeating testing for replacement PCB, integration/validation to be completed in 1 week)
Nick

## Slide 22: Thank you